## Home
Kennedy Home Energy Optimiser
Property |  | Annual Summary
Owner | Steve Kennedy | Annual Usage | 15410
Location | Christchurch | Estimated Solar | 11118
House Area | 247 m² | Annual Balance | -4292
Occupants | 2 | Solar Coverage | 72.15%
Solar System
Panels | 23 × 470 W
Array Size | 10.81 kW
Orientation | 14 NE / 9 NW
Inverter | Sigen 12 kW TP2
Battery | None Installed
EV Charger | Sigen 11 kW AC
Hot Water
Cylinder | Peter Cocks 300 L
Elements | 2 × 3 kW
Thermostat | 70 °C
Controllers | 2 × Shelly Pro 1PM

## Inputs
Inputs
Parameter | Value
House Area (m²) | 247
Occupants | 2
Location | Christchurch
Panels | 23
Panel Rating (W) | 470
Array Size (kW) | 10.81
Orientation | 14 NE / 9 NW
Inverter | Sigen 12 kW TP2
Battery | None
EV Charger | Sigen 11 kW AC
Hot Water Cylinder | Peter Cocks 300 L
Elements | 2 × 3 kW
Thermostat (°C) | 70
Tariff | Contact Good Weekends

## Energy
Monthly Energy Balance
Month | Usage (kWh) | Solar (kWh) | Balance (kWh)
Apr | 1005 | 867 | -138
May | 1564 | 589 | -975
Jun | 2413 | 434 | -1979
Jul | 2358 | 500 | -1858
Aug | 2488 | 700 | -1788
Sep | 1026 | 934 | -92
Oct | 1333 | 1123 | -210
Nov | 709 | 1167 | 458
Dec | 635 | 1090 | 455
Jan | 664 | 1379 | 715
Feb | 583 | 1245 | 662
Mar | 632 | 1090 | 458
Annual Total | 15410 | 11118 | -4292

## Solar
Solar Model
Version 1.0 uses estimated monthly solar generation.
A future version will calculate generation from:
• Christchurch irradiation
• Roof orientation
• Roof pitch
• Shading
• System losses

## Hot Water
Hot Water
Current System
Cylinder | Peter Cocks 300 L
Elements | 2 × 3 kW
Thermostat | 70 °C

## Battery
Battery Options
Battery Size | Status
None Installed | Current
8 kWh | Future Option
16 kWh | Future Option
24 kWh | Future Option

## Financial
Financial Comparison
Option | Capital Cost | Annual Saving | Simple Payback
Do Nothing
Shelly Hot Water
New Cylinder
Heat Pump HWC
8 kWh Battery
16 kWh Battery
24 kWh Battery

## Dashboard
Dashboard
System Status
Annual Usage | 15410
Estimated Solar | 11118
Solar Coverage | 72.15%
Current Recommendation
1. Configure Shelly hot water control
2. Configure EV solar charging
3. Gather operating data
4. Review battery after 12 months